switch / Pulse relays with central control

impulse switch with central control, 24 V AC, 16 A, 1 NO

Factory: Doepke or similar
Item designation: RSZ 024-100
Order number: 09981050
selected make/type: ___________/___________